STEEL STRUCTURES (CE-411)

COMPLEX ENGINEERING PROBLEM

DESIGN REPORT – SCHEME 1

SUBMITTED TO: DR. AZIM KHAN

NUST INSTITUTE OF CIVIL ENGINEERING

SCHOOL OF CIVIL AND ENVIRONMENTAL ENGINEERING

Contents

1.	Problem Statement	3

2.	Initial Thoughts	3

3.	Assumptions	3

4.	Design Code & References	3

5.	Scheme Design Report	4

5.1.	Introduction	4

5.2.	Description (Client Requirements)	4

5.3.	Load & Loading combination	4

5.4.	Plan view	5

5.5.	Sections of primary and secondary trusses	5

5.6.	Load path	6

5.7.	3D view showing lateral system	6

6.	Scheme Design Sketches	7

7.	Modelling - SAP2000	8

8.	Scheme Recommendations	9

# Problem Statement

A multi-national polythene manufacturer requires a large, 200 ft. (60m) square, single-storey factory, on a green field site. The client’s Architect has stipulated that one central column only is to be allowed in the factory, which is clad with profiled steel sheet sandwich panels (50% roof lighting, no windows in the sides of the factory). Apart from small personnel doors, the figure also shows the requirement for one large sliding door opening, 16 ft. (5m) high, and a minimum clearance inside the building of 20ft. (6m) Only the major structural members are offered as calculation in this example, and only selected important connections are designed. Also, several checks normally included in a full design, such as secondary bending and local buckling of the truss member walls, have been omitted.

Prepare a design appraisal with appropriate sketches indicating a viable solution for the proposed structure. Indicate clearly the functional framing, load transfer, serviceability, and stability aspects. Review and critically appraise the proposed scheme.

# Initial Thoughts

There are 3 available schemes to complete this task. We will be using Scheme 1 as provided by our instructor, which basically consists of 1 central column, primary & secondary trusses and lateral & elevation bracing. The model will be created in SAP2000 and checked for deformations.

# Assumptions

- The ground is level across site

- Access for all types of vehicles is adequate

- Site has sufficient storage place

- Existing buildings are far away

- Ground conditions are constant across the site

- Bracing is allowed on external elevations

- Bracing is allowed on roof

# Design Code & References

- AISC & LRFD

# Scheme Design Report

## Introduction

The structure consists of 2 systems:

- Gravity System:

  - Primary Truss

  - Secondary Truss

  - Central Column

  - Edge Columns

- Lateral System:

  - Lateral Roof Bracing

  - Elevation Bracing

Furthermore, the structure is cladded from all sides.

## Description (Client Requirements)

- Client requirement 1: 200 ft. square, single storey factory

- Client requirement 2: Only one central column allowed

- Client requirement 3: One large sliding door opening 16ft. high

- Client requirement 4: Minimum clearance inside the building of 20.ft

- Client requirement 5: Structure has no windows

## Load & Loading combination

- Live load (L.L):

Roof snow load: 0.75 kN/m2

Factory roof services: 0.65 kN/m2

- Dead load (D.L):

Cladding load: 0.30 kN/m2

Steel load: 0.20 kN/m2

- Wind load (W.L):

Wind load: 2.0 kN/m2

- Load Combination:

- 1.2 D.L + 1.6 L.L (we will use this combination)

- 1.4 D.L

- 0.9 D.L + 1.0 W.L

- 1.0 D.L + 1.0 L.L (Fn)

L.L = (0.75+0.65) x 21 = 29.4 Psf

D.L = (0.30+0.20) x 21 = 10.5 Psf

W.L = 2.0 x 21 = 42 Psf

Factored Load = 1.2 D.L + 1.6 L.L

= 1.2 (10.5) + 1.6 (29.4)

= 59.64 Psf ≈ 60.0 Psf

## Plan view

## Sections of primary and secondary trusses

Primary Truss

Secondary Truss

## Load path

## 3D view showing lateral system

# Scheme Design Sketches

# Modelling - SAP2000

# Scheme Recommendations

Advantages of Scheme 1:

- Central Column will reduce internal loads and moments on structure

- Less chances of deflection

- Less steel involved as less dead load of structure

- Less load running into foundation, as load is well distributed

Disadvantages of Scheme 1:

- Central Column takes up space

- Lots of primary connections – dangerous in case of seismic activity